American Metalcraft, Inc. 07.42.13.16

28 Andrew Way

Villa Rica, Georgia 30180

Phone 769-486-5007

Website [www.americanmetalcraft.com](http://www.americanmetalcraft.com)

Email sales@americanmetalcraft.com

Guide Specification

Specifier Notes: This guide specification is written in Construction Specifications Institute (CSI) 3-Part Format in accordance with *The CSI Construction Specifications Practice Guide,* *MasterFormat, SectionFormat,* and *PageFormat.*

This Section must be carefully reviewed and edited by the Architect to meet the requirements of the Project and local building code. Coordinate this Section with Conditions of the Contract, Division 01, other specification sections, and the Drawings. Delete all Specifier Notes after editing this Section.

Section numbers and titles are based on *CSI MasterFormat 2018 Edition.*

1. 07 42 13.16

PERFORATED METAL PLATE WALL PANELS

Specifier Notes: This Section covers American Metalcraft, Inc. fluoropolymer-finished, perforated aluminum wall panels, including perforated metal plate wall panels. Consult American Metalcraft, Inc. for assistance in editing this Section as required for the Project.

* 1. GENERAL
		1. SECTION INCLUDES
			1. Perforated metal plate wall panels.
		2. RELATED REQUIREMENTS

Specifier Notes: Edit the following list of related sections as required for the Project. Limit the list to sections with specific information that the reader might expect to find in this Section, but is specified elsewhere.

* + 1. REFERENCE STANDARDS

Specifier Notes: List reference standards used elsewhere in this Section, complete with designations and titles. Delete reference standards from the following list not used in the edited Section.

* + - 1. American Architectural Manufacturers Association (AAMA) ([www.aamanet.org](http://www.aamanet.org)):
				1. AAMA 2605 – Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.
			2. ASTM International (ASTM) ([www.astm.org](http://www.astm.org)):
				1. ASTM C 754 – Standard Specification for Installation of Steel Framing Members to Receive Screw-Attached Gypsum Panel Products.
				2. ASTM D 523 – Standard Test Method for Specular Gloss.
				3. ASTM D 2244 – Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates.
				4. ASTM D4214 – Standard Test Methods for Evaluating the Degree of Chalking of Exterior Paint Films.
				5. ASTM G 85 – Standard Practice for Modified Salt Spray (Fog) Testing.
			3. National Association of Architectural Metal Manufacturers (NAAMM) (www.naamm.org):
				1. NAAMM Metal Finishes Manual for Architectural and Metal Products.
			4. Sheet Metal and Air Conditioning Contractors’ National Association (SMACNA) (www.smacna.org):
				1. SMACNA Architectural Sheet Metal Manual.
1. Industrial Perforators Association ([www.iperf.org](http://www.iperf.org))
	* + 1. Designers, Specifiers and Buyers Handbook for Perforated Metals
		1. COORDINATION
			1. Coordinate perforated metal plate wall panel installation with rain drainage, flashing, trim, stud back-up, soffits, and other adjoining work.
		2. PREINSTALLATION MEETINGS

Specifier Notes: Edit the Preinstallation Meetings article as required for the Project.

* + - 1. Convene preinstallation meeting [1 week] [2 weeks] [\_\_\_\_\_\_ weeks] before start of installation of wall panels.
			2. Meet with the following:
				1. Contractor.
				2. Architect.
				3. Wall panel manufacturer's representative.
				4. Wall panel installer.
				5. Structural support installer.
				6. Other installers whose work interfaces with or affects wall panels, including installers of doors, windows, and louvers.
			3. Review and finalize construction schedule and verify availability of materials, installer's personnel, equipment, and facilities needed to make progress and avoid delays.
			4. Review methods and procedures related to wall panel installation, including manufacturer's installation instructions.
			5. Examine structural support conditions for compliance with requirements, including alignment between and attachment to structural members.
			6. Review flashing, special siding details, wall penetrations, openings, and condition of other construction that will affect wall panels.
			7. Review requirements for temporary protection of wall panels during and after installation.
			8. Review coordination with other Work.
		1. SUBMITTALS

Specifier Notes: Edit the Submittals article as required for the Project. Delete submittals not required.

* + - 1. Submittals: Comply with Division 01.
			2. Product Data: Submit manufacturer’s product data for each type of product indicated, including construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of metal plate wall panel and accessory.
			3. Shop Drawings: Submit manufacturer’s shop drawings, including plans, elevations, sections, and details, indicating dimensions, installation layouts of metal panels, tolerances, materials, components, fabrication, fasteners, finish, and accessories.
				1. Include exterior elevations, that have the following items shown and coordinated with each other, using input from installers of these items:

Perforated metal plate wall panels and attachments.

Framing.

Wall-mounted items including doors, windows, louvers, and lighting fixtures.

Penetrations of wall by pipes and utilities.

* + - 1. Samples: Submit manufacturer’s sample for each type of exposed finish required.
				1. Sample Size for Perforated Metal Plate Wall Panels: Minimum 6 inches by 6 inches.
			2. Manufacturer’s Certification: Submit manufacturer’s certification that materials comply with specified requirements and are suitable for intended application.
			3. Manufacturer’s Project References: Submit manufacturer’s list of 10 successfully completed metal plate wall panel projects of similar size and scope to this Project, including project name and location, name of architect, and type and quantity of perforated metal plate wall panels furnished.
			4. Installer’s Project References: Submit installer’s list of 10 successfully completed metal plate wall panel projects of similar size and scope to this Project, including project name and location, name of architect, and type and quantity of perforated metal plate wall panels installed.
			5. Care and Maintenance Instructions: Submit manufacturer’s care and maintenance instructions, including cleaning and repairing instructions.
			6. Warranty Documentation: Submit manufacturer’s warranty and ensure forms have been completed in Owner's name and registered with manufacturer.
		1. QUALITY ASSURANCE
			1. Manufacturer’s Qualifications: Manufacturer regularly engaged in the manufacturing of perforated metal plate wall panels of similar type to that specified for a minimum of 10 years.
			2. Installer's Qualifications:
				1. Installer regularly engaged in installation of metal plate wall panels of similar type to that specified for a minimum of 5 years.
				2. Use persons trained for installation of perforated metal plate wall panels.
		2. DELIVERY, STORAGE, AND HANDLING
			1. Delivery Requirements:
				1. Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.
				2. Deliver materials without damage or deformation.
			2. Storage and Handling Requirements:
				1. Store and handle materials in accordance with manufacturer’s instructions.
				2. Keep materials in manufacturer’s original, unopened containers and packaging until installation.
				3. Store materials in clean, dry area indoors.
				4. Protect wall panels from weather, excessive temperatures, and construction operations.
				5. Handle wall panels to prevent bending, warping, twisting, and surface damage.
				6. Do not store materials directly on floor or ground.
				7. Store perforated wall panels vertically with top of panels down.
				8. Storage of Perforated Wall Panels Horizontally: Not permitted.
				9. Store wall panels covered with suitable weather tight and ventilated covering.
				10. Store wall panels to ensure dryness, with positive slope for drainage of moisture.
				11. Do not store wall panels in contact with other materials that might cause staining, denting, or other surface damage.
				12. Remove strippable protective covering from wall panels immediately before installation.
				13. Protect materials and finish during storage, handling, and installation to prevent damage.
		3. AMBIENT CONDITIONS
			1. Do not install materials under ambient conditions outside manufacturer’s limits.
		4. WARRANTY
			1. Wall System Warranty: Provide wall panel manufacturer warranty, agreeing to correct defects in manufacturing of materials within a 1-year period after date of Substantial Completion.
				1. Failures include, but are not limited to, the following:

Structural failures, including rupturing, cracking, or puncturing.

Deterioration: Beyond normal weathering of wall system metals and other materials.

* + - 1. Wall Panel Finish Warranty: Provide wall panel finish manufacturer warranty, agreeing to repair finish of metal plate wall panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

Specifier Notes: Specify finish warranty period. Period ranges from 0 to 20 years from date of Substantial Completion, depending on project location, choice of coating, and coating manufacturer. Consult American Metalcraft, Inc. for additional information.

* + - * 1. Finish Warranty Period: \_\_\_\_\_\_ years from date of Substantial Completion.
				2. Warranty Coverage: In accordance with AAMA 2605 for 70 percent PVDF resin on aluminum finish requirements and if proper maintenance has been followed in accordance with returned, signed, and agreed upon warranty.

Fading, Loss of Color Retention, ASTM D 2244: Loss of 5 Delta E units (Hunter) or less.

Chalking, Chalky White Powder on Wall Panel Surface, ASTM D 4214: Chalking at No. 8 or less for colors or No. 6 for white.

Loss of Adhesion: Loss of 10 percent due to cracking, checking, or peeling, or failure to adhere to bare metal.

Gloss Retention, ASTM D 523: 50 percent or less.

Salt Spray, Accelerated, ASTM G 85: At least 4,000 hours2.3

* 1. PRODUCTS
		1. MANUFACTURERS
			1. Manufacturer: American Metalcraft, Inc., 28 Andrew Way, Villa Rica, Georgia 30180. Phone 770-459-3605. [www.americanmetalcraft.com](http://www.americanmetalcraft.com). sales@americanmetalcraft.com.

Specifier Notes:

* + - 1. Substitutions: [Not permitted] [Comply with Division 01].
			2. Single Source: Provide materials from single manufacturer.
		1. PERFORATED METAL PLATE WALL PANELS

A.         Perforated Metal Plate Wall Panels: Provide factory-formed, metal plate wall panels, fabricated from single sheets of metal formed into profile for installation method indicated. Include attachment assembly components, panel stiffeners, and accessories required for weathertight system.

B.            Panel Depth:

 1. Panel Depth: [ ] inches.

                2. Field-verify and coordinate depth as required for alignment of metal panel faces with

 adjacent existing metal panel faces, and as required to match open-joint depth of existing

 metal panels.

C.            Aluminum Sheet: Tension-leveled, smooth aluminum sheet, ASTM B209.

                1. Exterior Finish- Two-coat fluoropolymer

Painted Finish Sides: [Face] [Face and Back]

D.            Surface: Smooth, solid, with perforations.

E.            Perforation Pattern:

 1. Size, Shape, Pattern and Open Area.

 a. Size. [ ]

 b. Shape. [ ]

 c. Pattern: [ ]

 d. Open Area: [ ]

F.            Attachment Assembly: Manufacturer’s aluminum assembly for open-joint application.

                1. Attachment Assembly color: Manufacturer’s standard

 2. At open joints, provide metal plate insert strips in finish matching panel finish, or provide

 visible attachment assembly components in finish matching panel finish.

G.           Panel Fasteners: [Concealed] [Exposed]

2.3 PERFORMANCE REQUIREMENTS

* + - 1. Perforated Metal Plate Wall Panel Assemblies: Comply with performance requirements without failure due to defective manufacturing, fabrication, installation, or other construction defects.
			2. Design, fabricate, and erect perforated aluminum wall panels without use of sealants, gaskets, or butyl tape.
				1. Structural Performance, ASTM E 330: Provide metal panel systems capable of withstanding the effects of the loads based on testing according to ASTM E330.
1. Panels to meet IPA standards for flatness.
	* 1. MATERIALS
			1. Aluminum Plate: Thickness as recommended by wall panel manufacturer for application and in compliance with manufacturer’s design requirements.
				1. Aluminum: Tension-leveled, fluoropolymer PVDF finish.
				2. Aluminum Alloy: 3003-H14.

Specifier Notes: Specify thickness of the aluminum plate based on design loads. Delete thicknesses not required.

* + - * 1. Thickness: [0.060 inch] [0.080 inch] [0.090 inch] [0.120 inch].
			1. Perforated Wall Panels:
				1. Depth: [ ]
				2. Size: [ ]
				3. Joints: [ ]
				4. Surface: Smooth, solid with perforations.
				5. Composite Material: Not acceptable.
			2. Perforated Wall Panel Fasteners:
				1. Suitable fasteners designed to withstand design loads.
				2. Material: Stainless steel with neoprene washers.
		1. FABRICATION
			1. Fabricate and finish perforated wall panels within manufacturer’s facilities.
			2. Comply with indicated profiles and with dimensional and structural requirements.
			3. Paint wall panels after fabrication to eliminate exposed raw edges.
		2. FINISHES
			1. Comply with NAAMM Metal Finishes Manual for Architectural and Metal Products for recommendations of designating finishes.
			2. Superior Performance Organic Coating System: AAMA 2605, multiple-coat, thermally cured, polyvinylidene fluoride (PVDF) resin system.

Specifier Notes: Specifier two-coat or three-coat fluoropolymer system.

* + - * 1. Two-Coat Fluoropolymer System:

AAMA 2605, fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

Prepare, pre-treat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer’s installation instructions.

* + - * 1. Three-Coat Fluoropolymer System:

AAMA 2605, fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

Prepare, pre-treat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer’s installation instructions.

* + - 1. Field Touch-Up Materials: As recommended by coating manufacturer for field application.
	1. EXECUTION
		1. EXAMINATION
			1. Examine substrates and Work areas and conditions with installer present for compliance with requirements for installation tolerances, wall panel supports, and other conditions affecting performance of the Work.
			2. Examine wall framing to verify that girts, angles, channels, studs, and other structural wall panel support members and anchorage have been installed within alignment tolerances required by wall panel manufacturer.
			3. Examine rough-in for components and systems penetrating wall panels to coordinate actual penetration locations relative to wall panel joint locations before installation.
			4. Notify Architect of conditions that would adversely affect installation or subsequent use.
			5. Do not begin preparation or installation until unacceptable conditions are corrected.
			6. Field Measurements:
				1. Verify locations of structural members and wall opening dimensions by field measurements before metal plate wall panel fabrication.
				2. Indicate field measurements on shop drawings.
		2. PREPARATION
			1. Miscellaneous Framing: Install sub girts, base angles, sills, furring, and other wall panel support members and provide anchorage in accordance with ASTM C 754 for gypsum panel type substrates and wall panel manufacturer’s installation instructions.
		3. INSTALLATION
			1. Install wall panels in accordance with manufacturer's installation instructions, including pressure equalized rain screen installation method and installation guidelines.
				1. Use of secondary drainage channels, brackets, support pins, joint sealants, or gaskets to manage drainage of wall panel system is not permitted.
				2. Attach wall panels using progressive tab and slot interlocking method, engaging bottom of panel in top of previous panel working bottom up, and left to right.
				3. Install wall panels with single top attachment in pre-punched holes to allow individual panels to move due to thermal expansion.
				4. Do not compromise internal gutter.
			2. Install wall panels to orientation, sizes, and locations as indicated on the Drawings.
			3. Install wall panels with proper anchorage and other components for this Work securely in place.
			4. Install wall panels with provisions for thermal and structural movement.
			5. Flashing and Trim: Install flashing and trim in accordance with performance requirements, manufacturer's installation instructions, and SMACNA Architectural Sheet Metal Manual.
				1. Provide concealed fasteners, where possible, and set units true to line, level, and plumb.
				2. Install work with laps, joints, and seams weather resistant.
				3. Install flashing and trim as wall panel installation progresses.
			6. Install weather tight escutcheons for pipe and conduit penetrating exterior walls.
			7. Metal Protection: Where dissimilar metals contact each other or corrosive substrates, protect against galvanic action in accordance with wall panel manufacturer.
			8. Do not apply sealants to joints, unless otherwise indicated on the Drawings.
			9. Install accessories with positive anchorage to building and provisions for thermal expansion, and coordinate installation with flashing and other components.
				1. Install components required for a complete wall panel assembly including flashing, trim, copings, fascia, sills, corners, and other accessory items.
		4. TOLERANCES
			1. Shim and align wall panel units with installed tolerances of 1/4 inch in 20 feet, non-cumulative, on level, plumb, and location lines as indicated on the Drawings.
		5. FIELD QUALITY CONTROL
			1. Testing Agency: Owner may engage a qualified independent testing agency to perform field tests and inspections.
			2. Water-Spray Test: After installation and in coordination with Mockup requirements, test area of assembly as directed by Architect for water penetration in accordance with AAMA 501.2.
			3. Manufacturer's Field Service: Engage a factory-authorized service representative to test and inspect completed wall panel installation, including accessories.
			4. Remove and replace wall panels where tests and inspections indicate they do not comply with specified requirements.
			5. Perform additional tests and inspections, at Contractor's expense, to verify compliance of replaced wall panels or necessary additional work with specified requirements.
			6. Prepare test and inspection reports and submit to Architect.
		6. ADJUSTING
			1. Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.
			2. Remove and replace with new material, damaged components that cannot be successfully repaired, as determined by Architect.
		7. CLEANING
			1. Clean wall panels promptly after installation in accordance with manufacturer’s instructions.
			2. Do not use harsh cleaning materials or methods that could damage finish.
			3. Clear weep holes and drainage channels of obstructions and dirt promptly after installation of wall panels.
		8. PROTECTION
			1. Protect Work of this Section from damage until Substantial Completion.

END OF SECTION